Peristaltic Pump Open Grow Shop Link: https://opengrow.pt/shop/peripherals-extras/19-peristaltic-pump

|  | REF: COMP0002A 12V Peristaltic Dosing Pump. This pump can precisely dose any kind of liquid. Connect it to TankBot and auto regulate pH and manage your unique nutrient solution. Compatibility TANKBOT. |
| --- | --- |

| Peristaltic Pump Specifications |  |
| --- | --- |
| Operating Voltage | 12VDC |
| Consumption | 15W |
| Flow Rate | 58ml/min (Alcance: 5.2ml/min-90ml/min) |
| RPM | 0.1-1000rpm* |
| Tube Length | 175mm comprimento (49.5mm exposto) |
| Tubing Life | ≥200h* |
| Exterior | Material: Plastic Pump Head + Metal Colors: Yellow (Plastic) |
| Dimensions | 75x54x40mm |
| Temperature Range | 0 to 40°C |
| Humidity | <80% |
| Compatibility | GroLab TankBot |
| Warranty | 1-year limited hardware warranty |

# How do I use this device?

Peristaltic Pump Interface

This device is directly compatible with any TankBot.

Below you can find the precise schematics and pinouts to interface this sensor with GroLab™.

Tankbot Connection