12V Precision Peristaltic Pump Open Grow Shop Link: https://opengrow.pt/shop/peripherals-extras/192-12v-precision-peristaltic-pump

|  | REF: COMP0035 12V Precise Peristaltic Dosing Pump. A robust and precise Peristaltic pump that can accurately dose any type of liquid. Connect it to TankBot and auto regulate pH and manage your unique nutrient solution. Compatibility TANKBOT. |
| --- | --- |

| Precise Peristaltic Pump Specifications |  |
| --- | --- |
| Operating Voltage | 12VDC |
| Consumption | 16W |
| Flow Rate Range | 0.08 ~280 ml/min |
| RPM | 0.1~350* |
| Tube Length | 175mm length (49.5mm exposed) |
| Tubing Life | ≥200h* |
| Exterior | Material: Plastic pump head + metal Colors: Transparent (plastic) |
| Dimensions | 63.2 x 93 x 164.4 mm |
| Compatibility | GroLab TankBot |
| Warranty | 1-year limited hardware warranty |

# How do I use this device?

Peristaltic Pump Interface

This device is directly compatible with any TankBot.

Below you can find the precise schematics and pinouts to interface this sensor with GroLab™.

Tankbot Connection