Sonda de pH Open Grow Shop Link: https://opengrow.pt/shop/peripherals-extras/18-ph-probe

|  | REF: COMP0001 Probe for measuring PH of a liquid solution. This PH probe comes with an electrode capable of constantly acquiring pH values from your liquid solution. With a 3 meters cable and an BNC connector easily connect this probe with TankBot and start getting all PH information that you may need from your solution. Compatibility TANKBOT. |
| --- | --- |

| pH Probe Specifications |  |
| --- | --- |
| Dimensions | 140mm (Length) x 12mm (diameter) |
| Exterior | Casing: Plastic Colors: Green |
| Cable Length | 3 meters |
| Measure Range | 0PH ~ 14PH |
| Measuring Temperature | 0ºC ~ 80ºC |
| Resolution | 0.01PH |
| Accuracy | ±0.01PH |
| Zero | 7±0.25PH |
| Response Time | <1min |
| Repeatability | <0.017 |
| Noise | <0.017 |
| Compatibility | GroLab TankBot |
| Warranty | 1 Year limited hardware warranty |