Conductivity Probe Open Grow Shop Link: https://opengrow.pt/shop/perifericos-extras/44-conductivity-probe

|  | REF: COMP0011 Probe for measuring EC of a liquid solution. This conductivity probe comes with an electrode capable of constantly acquiring EC values from your solution. With a 2 meters cable and a BNC connector, easily connect this probe with TankBot and start getting all the information that you may need from your solution. Compatibility TANKBOT. |
| --- | --- |

| EC Probe Specifications |  |
| --- | --- |
| Operating Voltage | 5 VDC |
| Sensor Type | Electrode |
| Cell Constant | 1.0 ± 2 |
| Measuring Range | 0 to 19990 μS/cm |
| Accuracy | ± 0.2 |
| Connector | BNC |
| Exterior | Material: Placas de vidro e platina Cor: Vidro transparente/negro |
| Cable Length | 2 metros |
| Compatibility | GroLab TankBot |
| Warranty | 1-year limited hardware warranty |