pH Online Probe Open Grow Shop Link: https://opengrow.pt/shop/peripherals-extras/52-ph-online-probe

|  | REF: COMP0024 Online Probe for measuring pH of a liquid solution. Accurate and resistant to environment conditions. With this probe, the immersion time doesn't affect directly the pH sampling, that way it's possible to let the probe immersed without calibration for a longer period of time. With a 1.5 meters cable and an BNC connector easily connect this probe with TankBot and start getting all pH information that you may need from your solution. Compatibility TANKBOT. |
| --- | --- |

| pH Online Probe Specifications |  |
| --- | --- |
| Dimensions | 182.2mm (length) x 25.6mm (diameter) |
| Exterior | Casing: Plastic Color: Black |
| Cable Length | 1.5 meters |
| Measure Range | 0PH ~ 14PH |
| Measuring Temperature | 0ºC ~ 80ºC |
| Resolution | 0.01PH |
| Accuracy | ±0.01PH |
| Drift Degree | ≤0.02pH/24hours |
| Isoelectric Point of Electrode | 7±0.5PH |
| Response Time | <5s |
| Mounting Type | NPT 3/4 ″Fio |
| Connector | BNC |
| Compatibility | GroLab TankBot |
| Warranty | 1-year limited hardware warranty |