EC Online Probe Open Grow Shop Link: https://opengrow.pt/shop/perifericos-extras/54-ec-online-probe

|  | REF: COMP0025 Probe for measuring EC of a liquid solution. Accurate and resistant to environment conditions With this probe, the immersion time doesn't affect directly the EC sampling, that way it's possible to let the probe immersed without calibration for a longer period of time. With a 2 meters cable and an BNC connector easily connect this probe with TankBot and start getting all the information that you may need from your solution. Compatibility TANKBOT. |
| --- | --- |

| EC Online Probe Specifications |  |
| --- | --- |
| Operating Voltage | 5 VDC |
| Sensor Type | Electrode |
| Cell Constant | 10 |
| Measuring Range | 10 to 20000 μS/cm |
| Accuracy | ± 0.1 |
| Connector | BNC |
| Exterior | Material: Titanium Alloy (probe) + Plastic (thread) Color: Silver (probe) + White (thread) |
| Cable Length | 2 meters |
| Mounting Type | NPT 3/4 ″thread |
| Compatibility | GroLab TankBot |
| Warranty | 1-year limited hardware warranty |