Temperature Sensor Open Grow Shop Link: https://opengrow.pt/shop/peripherals-extras/15-temperature-sensor

|  |  | REF: COMP0008 Sensor for measurements of Air, Soil and Water Temperature. With waterproof protection and a stainless-steel enclosure this is a sensor that is capable of resisting to all the elements and at the same time be accurate and reliable. Easily connectable to your module. Compatibility TANKBOT; SOILBOT; ARDUINO. |
| --- | --- | --- |
| Temperature Sensor Specifications |  |  |
| Dimensions |  | 50mm (length) x 10mm (diameter) |
| Exterior |  | Casing: Stainless Steel Color: Silver |
| Cable Length |  | 2 metros |
| Waterproof |  | Yes |
| Temperature Range |  | -40ºC ~ 110ºC |
| Temperature Precision |  | ±0.5ºC |
| Warranty |  | 1-year limited hardware warranty |

# How do I use this sensor?

Temperature Sensor Interface

This sensor is directly compatible with any TankBot, SoilBot or UserBot. It can also be used by third party acquisition devices like an Arduino.

Below you can find the precise schematics and pinouts to interface this sensor with GroLab™ or an Arduino.

SoilBot Connection

TankBot Connection

Arduino Connection

Source Code

All the necessary source code to use this sensor with your Arduino can be found in Open Grow™ GitHub Repository.

GroLab™ Sensors Public Repository

Visit repository